## K.1 Daftar Kebutuhan Pengguna
NAMA ASESI |  | : | Mochamad Rizky Afriansyah
KELAS |  | : | XII TKJ 1
TANGGAL ASESI |  | :
NAMA ASESOR |  | :
Daftar Kebutuhan Pengguna
|  | No | Kebutuhan Pengguna | Keterangan (*.disi Jika diperlukan)
|  | 1 | Modem ISP | Dari ISP
|  | 2 | Router | Mengelola jaringan lokal dan penghubung ke jaringan internet
|  | 3 | Switch Manage | Membagi segmentasi menjadi beberapa jaringan
|  | 4 | Switch Unmanage | Menghubungkan perangkat hanya satu jaringan
|  | 5 | PC Server | Melakukan layanan monitoring server
|  | 6 | Patch Panel | Sebagai alat manajemen kabel
|  | 7 | LCD Monitor | Menampilan tampilan layar konfigurasi jaringan dan sistem operasi
|  | 8 | PDU ( Power Distribution Unit ) | Mengelola dan mendistribusikan listrik
|  | 9 | UPS ( Uninterruptible Power Supply ) | Menyediakan daya listrik sementara bagi perangkat elektronik
|  | 10 | PC Client | Di gunakan untuk client / pengguna
|  | 11 | Access Point Outdoor | Memberikan akses ke jaringan internet melalui media wireless
|  | 12 | Kabel LAN UTP | Memberikan akses ke jaringan internet melalui media kabel
|  | 13 | Crimping Tools | Memotong dan menyambungkan kabel LAN UTP
|  | 14 | Konektor RJ45 | Konektor untuk menyambungkan kabel UTP ke interface / port RJ45
|  | 15 | Rak Server | Untuk menyimpan perangkat - perangkat jaringan
|  | 16 | Kabel Duct | Untuk merapihkan jalur kabel
|  | 17 | Tower | Untuk menyimpan perangkat access point di atas tower
|  | 18 | Sistem Operasi Linux Debian Server | Sistem Operasi yang di gunakan untuk PC Server
|  | 19 | Sistem Operasi Windows | Sistem Operasi yang di gunakan untuk PC Client
|  | 20 | Keyboard tray | Menyimpan perangkat keyboard
|  | 21 | Mouse | Untuk mengandalikan kursor di layar monitor
| Asesor, |  |  | Asesi,
| ..................................... |  |  | Mochamad Rizky Afriansyah

## K.1 EstimasiBandwidth
NAMA ASESI |  | : | Mochamad Rizky Afriansyah
KELAS |  | : | XII TKJ 1
TANGGAL ASESI |  | :
NAMA ASESOR |  | :
Tabel Perencanaan Bandwidth
|  | No | Network | Gedung/Ruangan | Jumlah Komputer |  | Minimal Bandwidth/user(komputer) |  | Bandwidth yang dibutuhkan
|  | 1 | Lab | Gedung A, Lab TKJ | 20 | PC | 500 | Kbps | 10000 | kbps
|  |  |  | Gedung A, Lab RPL | 20 | PC | 500 | Kbps | 10000 | kbps
|  | 2 | Staff | Gedung A, Ruang Staff | 1 | PC | 300 | Kbps | 300 | Kbps
|  | 3 | Hotspot Area | Gedung B, Ruang Tamu | 254 | PC | 1000 | Kbps | 254000 | Kbps
|  | Total Bandwidth Keseluruhan | [6 empty] | 274300 | Kbps
[9 empty] | 274.3 | Mbps
|  | 1 | Total bandwidth Jaringan Lab | 20000 |  |  | 20 | Mbps
|  | 2 | Total Bandwidth Jaringan staff | 300 |  |  | 0.3 | Mbps
|  | 3 | Total Bandwidth Jaringan Hotspot Area | 254000 |  |  | 254 | Mbps
| Asesor, |  |  |  |  | Asesi,
| ..................................... |  |  |  |  | Mochamad Rizky Afriansyah

## K.1 Rencana Pengkabelan
NAMA ASESI |  | : | Mochamad Rizky Afriansyah
KELAS |  | : | XII TKJ 1
TANGGAL ASESI |  | :
NAMA ASESOR |  | :
PERENCANAAN PENGKABELAN
|  | No | Perangkat Sumber | Perangkat Tujuan | Konektor | Jenis Kabel | Jenis Konfigurasi Kabel | Standar Konfigurasi Kabel Yang digunakan pilih : (T568A/T568B) | Jumlah
|  | 1 | Modem | Router | RJ45 | UTP Cable | Straight | T568B | 1
|  | 2 | Router | PC Server | RJ45 | UTP Cable | Straight | T568B | 1
|  | 3 | Router | Switch 1 ( Managed ) | RJ45 | UTP Cable | Straight | T568B | 1
|  | 4 | Router | Switch 4 ( Unmanaged ) | RJ45 | UTP Cable | Straight | T568B | 1
|  | 5 | Switch 1 ( Managed ) | Switch 2 ( Unmanaged ) | RJ45 | UTP Cable | Straight | T568B | 1
|  | 6 | Switch 1 ( Managed ) | Switch 3 ( Unmanaged ) | RJ45 | UTP Cable | Straight | T568B | 1
|  | 7 | Switch 1 ( Managed ) | Access Point Outdoor | RJ45 | UTP Cable | Straight | T568B | 1
|  | 8 | Switch 2 ( Unmanaged ) | PC 1 Client TKJ | RJ45 | UTP Cable | Straight | T568B | 1
|  | 9 | Switch 2 ( Unmanaged ) | PC 2 Client TKJ | RJ45 | UTP Cable | Straight | T568B | 1
|  | 10 | Switch 2 ( Unmanaged ) | PC 3 Client TKJ | RJ45 | UTP Cable | Straight | T568B | 1
|  | 11 | Switch 2 ( Unmanaged ) | PC 4 Client TKJ | RJ45 | UTP Cable | Straight | T568B | 1
|  | 12 | Switch 2 ( Unmanaged ) | PC 5 Client TKJ | RJ45 | UTP Cable | Straight | T568B | 1
|  | 13 | Switch 2 ( Unmanaged ) | PC 6 Client TKJ | RJ45 | UTP Cable | Straight | T568B | 1
|  | 14 | Switch 2 ( Unmanaged ) | PC 7 Client TKJ | RJ45 | UTP Cable | Straight | T568B | 1
|  | 15 | Switch 2 ( Unmanaged ) | PC 8 Client TKJ | RJ45 | UTP Cable | Straight | T568B | 1
|  | 16 | Switch 2 ( Unmanaged ) | PC 9 Client TKJ | RJ45 | UTP Cable | Straight | T568B | 1
|  | 17 | Switch 2 ( Unmanaged ) | PC 10 Client TKJ | RJ45 | UTP Cable | Straight | T568B | 1
|  | 18 | Switch 2 ( Unmanaged ) | PC 11 Client TKJ | RJ45 | UTP Cable | Straight | T568B | 1
|  | 19 | Switch 2 ( Unmanaged ) | PC 12 Client TKJ | RJ45 | UTP Cable | Straight | T568B | 1
|  | 20 | Switch 2 ( Unmanaged ) | PC 13 Client TKJ | RJ45 | UTP Cable | Straight | T568B | 1
|  | 21 | Switch 2 ( Unmanaged ) | PC 14 Client TKJ | RJ45 | UTP Cable | Straight | T568B | 1
|  | 22 | Switch 2 ( Unmanaged ) | PC 15 Client TKJ | RJ45 | UTP Cable | Straight | T568B | 1
|  | 23 | Switch 2 ( Unmanaged ) | PC 16 Client TKJ | RJ45 | UTP Cable | Straight | T568B | 1
|  | 24 | Switch 2 ( Unmanaged ) | PC 17 Client TKJ | RJ45 | UTP Cable | Straight | T568B | 1
|  | 25 | Switch 2 ( Unmanaged ) | PC 18 Client TKJ | RJ45 | UTP Cable | Straight | T568B | 1
|  | 26 | Switch 2 ( Unmanaged ) | PC 19 Client TKJ | RJ45 | UTP Cable | Straight | T568B | 1
|  | 27 | Switch 2 ( Unmanaged ) | PC 20 Client TKJ | RJ45 | UTP Cable | Straight | T568B | 1
|  | 28 | Switch 3 ( Unmanaged ) | PC 1 Client RPL | RJ45 | UTP Cable | Straight | T568B | 1
|  | 29 | Switch 3 ( Unmanaged ) | PC 2 Client RPL | RJ45 | UTP Cable | Straight | T568B | 1
|  | 30 | Switch 3 ( Unmanaged ) | PC 3 Client RPL | RJ45 | UTP Cable | Straight | T568B | 1
|  | 31 | Switch 3 ( Unmanaged ) | PC 4 Client RPL | RJ45 | UTP Cable | Straight | T568B | 1
|  | 32 | Switch 3 ( Unmanaged ) | PC 5 Client RPL | RJ45 | UTP Cable | Straight | T568B | 1
|  | 33 | Switch 3 ( Unmanaged ) | PC 6 Client RPL | RJ45 | UTP Cable | Straight | T568B | 1
|  | 34 | Switch 3 ( Unmanaged ) | PC 7 Client RPL | RJ45 | UTP Cable | Straight | T568B | 1
|  | 35 | Switch 3 ( Unmanaged ) | PC 8 Client RPL | RJ45 | UTP Cable | Straight | T568B | 1
|  | 36 | Switch 3 ( Unmanaged ) | PC 9 Client RPL | RJ45 | UTP Cable | Straight | T568B | 1
|  | 37 | Switch 3 ( Unmanaged ) | PC 10 Client RPL | RJ45 | UTP Cable | Straight | T568B | 1
|  | 38 | Switch 3 ( Unmanaged ) | PC 11 Client RPL | RJ45 | UTP Cable | Straight | T568B | 1
|  | 39 | Switch 3 ( Unmanaged ) | PC 12 Client RPL | RJ45 | UTP Cable | Straight | T568B | 1
|  | 40 | Switch 3 ( Unmanaged ) | PC 13 Client RPL | RJ45 | UTP Cable | Straight | T568B | 1
|  | 41 | Switch 3 ( Unmanaged ) | PC 14 Client RPL | RJ45 | UTP Cable | Straight | T568B | 1
|  | 42 | Switch 3 ( Unmanaged ) | PC 15 Client RPL | RJ45 | UTP Cable | Straight | T568B | 1
|  | 43 | Switch 3 ( Unmanaged ) | PC 16 Client RPL | RJ45 | UTP Cable | Straight | T568B | 1
|  | 44 | Switch 3 ( Unmanaged ) | PC 17 Client RPL | RJ45 | UTP Cable | Straight | T568B | 1
|  | 45 | Switch 3 ( Unmanaged ) | PC 18 Client RPL | RJ45 | UTP Cable | Straight | T568B | 1
|  | 46 | Switch 3 ( Unmanaged ) | PC 19 Client RPL | RJ45 | UTP Cable | Straight | T568B | 1
|  | 47 | Switch 3 ( Unmanaged ) | PC 20 Client RPL | RJ45 | UTP Cable | Straight | T568B | 1
|  | 48 | Switch 4 ( Unmanaged ) | PC 1 Client TU | RJ45 | UTP Cable | Straight | T568B | 1
|  | Total Kabel UTP | [6 empty] | 48
| Asesor, | [5 empty] | Asesi,
| ..................................... | [5 empty] | Mochamad Rizky Afriansyah

## K.2 Perangkat Jaringan
|  | NAMA ASESI | : Mochamad Rizky Afriansyah
|  | KELAS | : XII TKJ 1
|  | TANGGAL ASESI | :
|  | NAMA ASESOR | :
No | Nama gedung / Ruangan | Nama Perangkat | Detail |  | Merk/Vendor Standar Produk | Jumlah | Satuan | Harga | Jumlah Harga
|  |  | Fungsi | Spesifikasi
1 | Gedung A Ruang NOC | Router | Menghubungkan beberapa jaringan dan untuk mentransmisikan paket data dari jaringan internet ke perangkat lain melalui proses routing | Weight : 1.4 kg Dimensions : 239mm x 132mm x 25mm Mounting Desktop or Wall mount Power Load (idle/max) 6W / 13W Operating Temperature 32°F to 104°F (0°C to 40°C) Humidity 5% to 95% Interface : Dedicated: 1 x GbE RJ45 1 x USB (cellular failover) Dual-purpose: 1 x GbE RJ45 Fixed: 4 x GbE RJ45 Output Power : 30W | CISCO Meraki MX64W Router/Security Appliance with 802.11ac | 1 | Unit | 16690500 | 16690500
|  | Switch Manage 24 Port | Menghubungkan beberapa jaringan dan Menyaring dan Meneruskan Paket Data: Switch menyaring dan meneruskan paket data ke alamat tujuan | Cloud Managed, Capacity: 56 Gbps Interfaces: 24 x 10/100/1000BASE-T Ethernet RJ45; 4 x 1GbE SFP uplink; RJ45 Management port Power: 18 Watt, Power Consumption: 8 - 908 W 1U Rack Mount Meraki MS120-24 Enterprise License and Support 1 Year (LIC-MS120-24-1YR), Meraki AC Power Cord for MX and MS (EU Plug) (MA-PWR-CORD-EU) CISCO Meraki MS120-24-HW 1G L2 Cloud Managed 24x GigE Switch | CISCO Meraki MS120-24 1G L2 | 1 | Unit | 29844000 | 29844000
|  | PC Server | melayani segala permintaan dari klien untuk diproses. Baik itu permintaan data atau aplikasi untuk dijalankan oleh klien | Processor : Intel Xeon Hexa-Core 3.7Ghz ~4.7Ghz Chipset : Intel C246 RAM : 2 x DDR4-2666 U-DIMM Dual-Channel, up to 32GB non-buffer non-ECC/ECC memory (1x 8GB DDR4 2400 ECC Installed) Storage : 1x mSATA slot (16GB mSATA SSD Installed), 2x SATA connector, 240GB 2.5" SATA SSD Installed Network Port : 8 port Intel Gigabit Ethernet, 8 port Intel Gigabit SFP, 2 port Intel 10G SFP+ PSU : 300 Watt Redundant PSU Operating System : optional by request Other Features : RJ45 Console, LCM, VGA Port, 1 pair LAN bypass, 2 slot 2.5" internal HDD tray | MikroBits Dinara v3 Open Source OS | 1 | Unit | 43750000 | 43750000
|  | Patch Panel | untuk memisahkan peralatan jaringan kabel (switch, router) dari perangkat jaringan (komputer, printer, scanner) | RJ45 Patch Panel 48 Port UTP Category 5e/6/6A 2U Rack Size Unit Utama | COMMSCOPE Copper Patch Panel CPP-UDDM-SL-2U-48 | 1 | Unit | 3835000 | 3835000
|  | Rack Mount | untuk penyimpanan segala perlatan networking termasuk diantaranya switch hub, modem, dan peralatan networking lainnya | 4 Side Panel Top and Bottom Cover 1 Roof Fan with 2 Fans 2 PDU Power 6 Outlet 2 Fixed Shelf 1 Sliding Shelf 1 Set Castor and Leveling Feet 50 Cagenut M6x15 + Bolt M6x15 | INNOVATION RACK IRA Series 24" | 1 | Unit | 18860000 | 18860000
|  | Kabel LAN UTP | media transmisi menghubungkan komputer ke perangkat jaringan atau komputer ke komputer. | 7814A UTP Cable Cat. 6 1000feet (1Roll/300m) | BELDEN UTP Cable Cat. 6 | 2 | Roll | 2500000 | 5000000
|  | Konektor RJ45 | Untuk menghubungkan kabel lan ke perangkat jaringan dengan interface ethernet | Plug Boot RJ45 UTP Cat 6 | BELDEN Plug Boot RJ45 Cat 6 | 1 | Pack | 200000 | 200000
|  | Modem Epon | Untuk menghubungkan internet dari isp ke router | 2 PORT+WIFI 2.4G 5dbi -1*10/100Mbps adaptive Ethernet ports, full/half duplex, RJ45 interface -Downstream rate 2.5Gbps, Upstream rate 1.25Gbps -Wavelength Tx 1310nm, Rx 1490nm -DC power 12V 1.5A, external AC-DC power adapter -RX sensitivity >-28dBm (1490nm) | HUAWEI HG8245H | 1 | Unit | 220000 | 220000
|  | UPS | melindungi perangkat elektronik dari gangguan pasokan listrik, seperti pemadaman mendadak, | Daya Keluar : 2000VA/1000W Berat Produk : 28.8 Kg (without internal battery) Garansi 12 Bulan dari Distributor Resmi di Indonesia 6 Bulan Baterai Dimensi Produk : 402 x 260 x 285 mm (D x W x H) | ICA UPS 1022B | 1 | Unit | 6750000 | 6750000
|  | PDU | stop kontak untuk mensupply / membagi kelistrikan ke berbagai macam tujuan | 24 Holes, Socket DIN49440 with 3Lights Surge Protection Connector Input : IEC C309 2P+E 32A Rating Voltage : 220 - 250VAC 50/60Hz Rating Current : 32A Maximum Power 8000W Bracket Install : Vertical Installation | UNITECH PDU UT-A240605 | 1 | Unit | 3200000 | 3200000
|  | Keyboard | Sebagai perangkat input komputer | Konektivitas USB, Berat Produk 0,74 KG, Dimensi 46.83 (P) x 2.86 (L) x 18.42 9 (T) cm | Logitech USB K120 | 1 | Unit | 109000 | 109000
|  | Keyboard Tray | Sebagai penyimpanan perangkat keyboard di rak server | Warna hitam , keyboard tray ukuran rak server | Hightpoint One Keyboard Tray | 1 | Unit | 449500 | 449500
|  | Mouse | Sebagai perangkat input komputer | Wired optical mouse, 800 dpi , cable lengh 180 cm | Logitech Wired Mouse B100 | 1 | Unit | 89000 | 89000
|  | Crimping Tool RJ45 | Alat menyambung dan memotong kabel LAN UTP | Deluxe Modular plug Tool RJ45 UTP Cat 5 Cat 6 | Belden Crimping Tool RJ45 AP100007 | 1 | Unit | 374000 | 374000
|  | Monitor | Untuk menampilkan monitoring server dan maintenance jaringan | Available Colors 16.7M Dot Pitch 0.275 mm Display Type LED Horizontal View Angle 178° Resolusi 1920 x 1080 Brightness 250 cd/m² Rasio Aspek 16 : 9 Voltase Rata-Rata 100 - 240 VAC, 50/60Hz Teknologi Layar IPS Technology Viewable Size 23.8 inch Konsumsi Daya 22 W Berat Produk 3.5 kg Ukuran Layar 24" | VIEWSONIC Monitor 24 Inch VX2416 | 1 | Unit | 2200000 | 2200000
2 | Gedung A Ruang Lab.kom TKJ | PC LAB Fullset | Untuk di gunakan oleh client | Processor : Intel Core I9-14900K Motherboard : Gigabyte Z790 AORUS ELITE CPU Cooloer : NZXT Kraken X53 Case : NZXT H6 Flow RGB Graphic Card : MSI Gaming Geforce RTX 4090 RAM : TeamGroup T-Force Delta 48GB DDR5 Storage : Samsung EVO 970 1TB PSU : Corsair RMx Series 1000 Watt 80+ Gold Keyboard : Logitect MX Keys Mouse : Logitect M190 Monitor : Xiaomi Dekstop Monitor 27" | Intel, Gigabyte, NZXT, MSI, TeamGroup, Samsung, Corsair, Logitech, Xiaomi | 20 | Unit | 30000000 | 600000000
|  | Switch Unmanaged | Mendistribusikan data atau internet dari ruang NOC ke client di ruang LAB Komputer TKJ | Supports Full/ Half duplex transfer mode for 10/100Mbps Store-and-Forward switching method Non-blocking performance, and full wire-speeds Robust metal frame, can be placed on a desktop and or mounted on a 19” rack mount Standards: IEEE802.3/u/x/az Cable Type: 10Base-T: UTP category 3, 4, 5 cable (maximum 100m), 100Base-Tx: UTP category 5, 5e cable (maximum 100m) LED Indicator: 10/100M: Link/Act(Green), Speed(100M:Green,10M:Off) MAC Address List: 8K Frame Filtering & Forward Rate: 10Mbps: 14880PPS, 100Mbps: 14880PPS | PROLINK Switch Unmanaged PSE2410M | 1 | unit | 676500 | 676500
|  | Rack Mount | Untuk Meyimpan Switch dan PDU | Tinggi 4U Fitur 19 inch Cabinet Rack Model Rack Closed Dimensi Produk 450 x 600 x 280 mm | INDORACK Wallmount Rack Single Door WIP4504S | 1 | Unit | 2000000 | 2000000
|  | Kabel LAN UTP | media transmisi menghubungkan komputer ke perangkat jaringan atau komputer ke komputer. | 7814A UTP Cable Cat. 6 1000feet (1Roll/300m) | BELDEN UTP Cable Cat. 6 | 2 | Roll | 2500000 | 5000000
|  | Konektor RJ45 | Untuk menghubungkan kabel lan ke perangkat jaringan dengan interface ethernet | Plug Boot RJ45 UTP Cat 6 | BELDEN Plug Boot RJ45 Cat 6 | 1 | Pack | 200000 | 200000
|  | Kabel Duct | Untuk Menutup dan melindungi kabel | Dengan perekat double tape Melindungi kabel dengan baik dan terlihat rapih Bisa digunakan di tembok atau pun di lantai Panjang 1 meter | B-SAVE Kabel Duct TC-6 | 30 | Meter | 15000 | 450000
|  | PDU | Untuk mensupply / membagi kelistrikan ke berbagai macam tujuan | 24 Holes, Socket DIN49440 with 3Lights Surge Protection Connector Input : IEC C309 2P+E 32A Rating Voltage : 220 - 250VAC 50/60Hz Rating Current : 32A Maximum Power 8000W Bracket Install : Vertical Installation | UNITECH PDU UT-A240605 | 1 | Unit | 3200000 | 3200000
3 | Gedung A Ruang Lab.kom RPL | PC LAB Fullset | Untuk di gunakan oleh client | Processor : Intel Core I9-14900K Motherboard : Gigabyte Z790 AORUS ELITE CPU Cooloer : NZXT Kraken X53 Case : NZXT H6 Flow RGB Graphic Card : MSI Gaming Geforce RTX 4090 RAM : TeamGroup T-Force Delta 48GB DDR5 Storage : Samsung EVO 970 1TB PSU : Corsair RMx Series 1000 Watt 80+ Gold Keyboard : Logitect MX Keys Mouse : Logitect M190 Monitor : Xiaomi Dekstop Monitor 27" | Intel, Gigabyte, NZXT, MSI, TeamGroup, Samsung, Corsair, Logitech, Xiaomi | 20 | Unit | 30000000 | 600000000
|  | Switch Unmanaged | Mendistribusikan data atau internet dari ruang NOC ke client di ruang LAB Komputer RPL | Supports Full/ Half duplex transfer mode for 10/100Mbps Store-and-Forward switching method Non-blocking performance, and full wire-speeds Robust metal frame, can be placed on a desktop and or mounted on a 19” rack mount Standards: IEEE802.3/u/x/az Cable Type: 10Base-T: UTP category 3, 4, 5 cable (maximum 100m), 100Base-Tx: UTP category 5, 5e cable (maximum 100m) LED Indicator: 10/100M: Link/Act(Green), Speed(100M:Green,10M:Off) MAC Address List: 8K Frame Filtering & Forward Rate: 10Mbps: 14880PPS, 100Mbps: 14880PPS | PROLINK Switch Unmanaged PSE2410M | 1 | unit | 676500 | 676500
|  | Rack Mount | Untuk Meyimpan Switch dan PDU | Tinggi 4U Fitur 19 inch Cabinet Rack Model Rack Closed Dimensi Produk 450 x 600 x 280 mm | INDORACK Wallmount Rack Single Door WIP4504S | 1 | Unit | 2000000 | 2000000
|  | Kabel LAN UTP | media transmisi menghubungkan komputer ke perangkat jaringan atau komputer ke komputer. | 7814A UTP Cable Cat. 6 1000feet (1Roll/300m) | BELDEN UTP Cable Cat. 6 | 2 | Roll | 2500000 | 5000000
|  | Konektor RJ45 | Untuk menghubungkan kabel lan ke perangkat jaringan dengan interface ethernet | Plug Boot RJ45 UTP Cat 6 | BELDEN Plug Boot RJ45 Cat 6 | 1 | Pack | 200000 | 200000
|  | Kabel Duct | Untuk Menutup dan melindungi kabel | Dengan perekat double tape Melindungi kabel dengan baik dan terlihat rapih Bisa digunakan di tembok atau pun di lantai Panjang 1 meter | B-SAVE Kabel Duct TC-6 | 30 | Meter | 15000 | 450000
|  | PDU | untuk mensupply / membagi kelistrikan ke berbagai macam tujuan | 24 Holes, Socket DIN49440 with 3Lights Surge Protection Connector Input : IEC C309 2P+E 32A Rating Voltage : 220 - 250VAC 50/60Hz Rating Current : 32A Maximum Power 8000W Bracket Install : Vertical Installation | UNITECH PDU UT-A240605 | 1 | Unit | 3200000 | 3200000
4 | Gedung B Outdoor | Access Point | Untuk mendistribusikan internet ke client dengan sinyak atau wireless | Dimensions 343.2 x 181.2 x 60.2 mm (13.5 x 7.1 x 2.4") Weight 633 g (1.4 lb) Networking interface (2) GbE ports Power supply Gigabit PoE adapter 48V DC, 0.5A* 2.4 GHZ 5 GHZ Wireless security WEP, WPA-PSK, WPA-Enterprise (WPA/WPA2, TKIP/AES) VLAN 802.1Q | UBIQUITI UniFi UAP AC Mesh Pro UAP-AC-M-PRO | 1 | Unit | 3100000 | 3100000
|  | Kabel LAN UTP | media transmisi menghubungkan komputer ke perangkat jaringan atau komputer ke komputer. | 7814A UTP Cable Cat. 6 1000feet (1Roll/300m) | BELDEN UTP Cable Cat. 6 | 1 | Roll | 2500000 | 2500000
Total | [7 empty] | 211854000 | 1360224000
| List | cost
| Biaya Total Pembelian alat | 211854000
Biaya Pemasangan/installasi
| @Jumlah titik : | 0
| @ Biaya Installasi / titik: | 75000
| @Total Biaya Pemasangan: | 0
| Biaya Total Pembangunan Jaringan Komputer | 211854000
| biaya perawatan 20% dari Total Biaya pembangunan Jaringan: | 42370800
| Asesor, |  |  | Asesi,
| ..................................... |  |  | Mochamad Rizky Afriansyah

## K.2 Pengalamatan
NAMA ASESI |  | : Mochamad Rizky Afriansyah
KELAS |  | : XII TKJ 1
TANGGAL ASESI |  | :
NAMA ASESOR |  | :
Rencana Pengalamatan IP
|  | IP Address | Network | Netmask | gateway | Broadcast | Device | Gedung/ruang | Purpose
|  | 192.168.204.15 | 192.168.204.0 | 255.255.255.192 | 192.168.204.1 | 192.168.204.63 | Router - Ether 1 | Gedung A - NOC | Menyambungkan internet dari router ke modem isp
|  | 172.16.20.1 | 172.16.20.0 | 255.255.255.248 | 192.168.204.1 | 172.16.20.7 | Router - Ether 2 | Gedung A - NOC | Network ke PC Server
|  | 192.168.1.1 | 192.168.1.0 | 255.255.255.252 | 192.168.204.1 | 192.168.1.3 | Router - Ether 3 | Gedung A - NOC | Management switch jaringan local
|  | 192.168.12.1 | 192.168.12.0 | 255.255.255.224 | 192.168.204.1 | 192.168.12.31 | Router - Vlan 10 | Gedung A - NOC | Network ke jaringan local lab RPL
|  | 192.168.11.1 | 192.168.11.0 | 255.255.255.224 | 192.168.204.1 | 192.168.11.31 | Router - Vlan 20 | Gedung A - NOC | Network ke jaringan local lab TKJ
|  | 192.168.13.1 | 192.168.13.0 | 255.255.255.0 | 192.168.204.1 | 192.168.13.255 | Router - Vlan 30 | Gedung A - NOC | Network ke jaringan local Ruang Tamu / Hotspot Area
|  | 192.168.10.1 | 192.168.10.0 | 255.255.255.224 | 192.168.204.1 | 192.168.10.31 | Router - Ether 4 | Gedung A - NOC | Network ke jaringan local Ruang Staff TU
|  | 172.16.20.2 | 172.16.20.0 | 255.255.255.248 | 172.16.20.1 | 172.16.20.7 | PC Server | Gedung A - NOC | Network ke Router
|  | 192.168.1.2 | 192.168.1.0 | 255.255.255.252 | 192.168.1.1 | 192.168.1.3 | Switch 1 - Ether 1 | Gedung A - NOC | Management switch jaringan local
|  | 192.168.10.2 | 192.168.10.0 | 255.255.255.224 | 192.168.10.1 | 192.168.10.31 | PC Client TU | Gedung A - TU | Menghubungkan network ke router NOC
|  | 192.168.12.2 | 192.168.12.0 | 255.255.255.224 | 192.168.12.1 | 192.168.12.31 | PC 1 Client RPL | Gedung A - LAB RPL | Network ke jaringan local lab RPL
|  | 192.168.12.3 | 192.168.12.0 | 255.255.255.224 | 192.168.12.1 | 192.168.12.31 | PC 2 Client RPL | Gedung A - LAB RPL | Network ke jaringan local lab RPL
|  | 192.168.12.4 | 192.168.12.0 | 255.255.255.224 | 192.168.12.1 | 192.168.12.31 | PC 3 Client RPL | Gedung A - LAB RPL | Network ke jaringan local lab RPL
|  | 192.168.12.5 | 192.168.12.0 | 255.255.255.224 | 192.168.12.1 | 192.168.12.31 | PC 4 Client RPL | Gedung A - LAB RPL | Network ke jaringan local lab RPL
|  | 192.168.12.6 | 192.168.12.0 | 255.255.255.224 | 192.168.12.1 | 192.168.12.31 | PC 5 Client RPL | Gedung A - LAB RPL | Network ke jaringan local lab RPL
|  | 192.168.12.7 | 192.168.12.0 | 255.255.255.224 | 192.168.12.1 | 192.168.12.31 | PC 6 Client RPL | Gedung A - LAB RPL | Network ke jaringan local lab RPL
|  | 192.168.12.8 | 192.168.12.0 | 255.255.255.224 | 192.168.12.1 | 192.168.12.31 | PC 7 Client RPL | Gedung A - LAB RPL | Network ke jaringan local lab RPL
|  | 192.168.12.9 | 192.168.12.0 | 255.255.255.224 | 192.168.12.1 | 192.168.12.31 | PC 8 Client RPL | Gedung A - LAB RPL | Network ke jaringan local lab RPL
|  | 192.168.12.10 | 192.168.12.0 | 255.255.255.224 | 192.168.12.1 | 192.168.12.31 | PC 9 Client RPL | Gedung A - LAB RPL | Network ke jaringan local lab RPL
|  | 192.168.12.11 | 192.168.12.0 | 255.255.255.224 | 192.168.12.1 | 192.168.12.31 | PC 10 Client RPL | Gedung A - LAB RPL | Network ke jaringan local lab RPL
|  | 192.168.12.12 | 192.168.12.0 | 255.255.255.224 | 192.168.12.1 | 192.168.12.31 | PC 11 Client RPL | Gedung A - LAB RPL | Network ke jaringan local lab RPL
|  | 192.168.12.13 | 192.168.12.0 | 255.255.255.224 | 192.168.12.1 | 192.168.12.31 | PC 12 Client RPL | Gedung A - LAB RPL | Network ke jaringan local lab RPL
|  | 192.168.12.14 | 192.168.12.0 | 255.255.255.224 | 192.168.12.1 | 192.168.12.31 | PC 13 Client RPL | Gedung A - LAB RPL | Network ke jaringan local lab RPL
|  | 192.168.12.15 | 192.168.12.0 | 255.255.255.224 | 192.168.12.1 | 192.168.12.31 | PC 14 Client RPL | Gedung A - LAB RPL | Network ke jaringan local lab RPL
|  | 192.168.12.16 | 192.168.12.0 | 255.255.255.224 | 192.168.12.1 | 192.168.12.31 | PC 15 Client RPL | Gedung A - LAB RPL | Network ke jaringan local lab RPL
|  | 192.168.12.17 | 192.168.12.0 | 255.255.255.224 | 192.168.12.1 | 192.168.12.31 | PC 16 Client RPL | Gedung A - LAB RPL | Network ke jaringan local lab RPL
|  | 192.168.12.18 | 192.168.12.0 | 255.255.255.224 | 192.168.12.1 | 192.168.12.31 | PC 17 Client RPL | Gedung A - LAB RPL | Network ke jaringan local lab RPL
|  | 192.168.12.19 | 192.168.12.0 | 255.255.255.224 | 192.168.12.1 | 192.168.12.31 | PC 18 Client RPL | Gedung A - LAB RPL | Network ke jaringan local lab RPL
|  | 192.168.12.20 | 192.168.12.0 | 255.255.255.224 | 192.168.12.1 | 192.168.12.31 | PC 19 Client RPL | Gedung A - LAB RPL | Network ke jaringan local lab RPL
|  | 192.168.12.21 | 192.168.12.0 | 255.255.255.224 | 192.168.12.1 | 192.168.12.31 | PC 20 Client RPL | Gedung A - LAB RPL | Network ke jaringan local lab RPL
|  | 192.168.11.2 | 192.168.11.0 | 255.255.255.224 | 192.168.11.1 | 192.168.11.31 | PC 1 Client TKJ | Gedung A - LAB TKJ | Network ke jaringan local lab TKJ
|  | 192.168.11.3 | 192.168.11.0 | 255.255.255.224 | 192.168.11.1 | 192.168.11.31 | PC 2 Client TKJ | Gedung A - LAB TKJ | Network ke jaringan local lab TKJ
|  | 192.168.11.4 | 192.168.11.0 | 255.255.255.224 | 192.168.11.1 | 192.168.11.31 | PC 3 Client TKJ | Gedung A - LAB TKJ | Network ke jaringan local lab TKJ
|  | 192.168.11.5 | 192.168.11.0 | 255.255.255.224 | 192.168.11.1 | 192.168.11.31 | PC 4 Client TKJ | Gedung A - LAB TKJ | Network ke jaringan local lab TKJ
|  | 192.168.11.6 | 192.168.11.0 | 255.255.255.224 | 192.168.11.1 | 192.168.11.31 | PC 5 Client TKJ | Gedung A - LAB TKJ | Network ke jaringan local lab TKJ
|  | 192.168.11.7 | 192.168.11.0 | 255.255.255.224 | 192.168.11.1 | 192.168.11.31 | PC 6 Client TKJ | Gedung A - LAB TKJ | Network ke jaringan local lab TKJ
|  | 192.168.11.8 | 192.168.11.0 | 255.255.255.224 | 192.168.11.1 | 192.168.11.31 | PC 7 Client TKJ | Gedung A - LAB TKJ | Network ke jaringan local lab TKJ
|  | 192.168.11.9 | 192.168.11.0 | 255.255.255.224 | 192.168.11.1 | 192.168.11.31 | PC 8 Client TKJ | Gedung A - LAB TKJ | Network ke jaringan local lab TKJ
|  | 192.168.11.10 | 192.168.11.0 | 255.255.255.224 | 192.168.11.1 | 192.168.11.31 | PC 9 Client TKJ | Gedung A - LAB TKJ | Network ke jaringan local lab TKJ
|  | 192.168.11.11 | 192.168.11.0 | 255.255.255.224 | 192.168.11.1 | 192.168.11.31 | PC 10 Client TKJ | Gedung A - LAB TKJ | Network ke jaringan local lab TKJ
|  | 192.168.11.12 | 192.168.11.0 | 255.255.255.224 | 192.168.11.1 | 192.168.11.31 | PC 11 Client TKJ | Gedung A - LAB TKJ | Network ke jaringan local lab TKJ
|  | 192.168.11.13 | 192.168.11.0 | 255.255.255.224 | 192.168.11.1 | 192.168.11.31 | PC 12 Client TKJ | Gedung A - LAB TKJ | Network ke jaringan local lab TKJ
|  | 192.168.11.14 | 192.168.11.0 | 255.255.255.224 | 192.168.11.1 | 192.168.11.31 | PC 13 Client TKJ | Gedung A - LAB TKJ | Network ke jaringan local lab TKJ
|  | 192.168.11.15 | 192.168.11.0 | 255.255.255.224 | 192.168.11.1 | 192.168.11.31 | PC 14 Client TKJ | Gedung A - LAB TKJ | Network ke jaringan local lab TKJ
|  | 192.168.11.16 | 192.168.11.0 | 255.255.255.224 | 192.168.11.1 | 192.168.11.31 | PC 15 Client TKJ | Gedung A - LAB TKJ | Network ke jaringan local lab TKJ
|  | 192.168.11.17 | 192.168.11.0 | 255.255.255.224 | 192.168.11.1 | 192.168.11.31 | PC 16 Client TKJ | Gedung A - LAB TKJ | Network ke jaringan local lab TKJ
|  | 192.168.11.18 | 192.168.11.0 | 255.255.255.224 | 192.168.11.1 | 192.168.11.31 | PC 17 Client TKJ | Gedung A - LAB TKJ | Network ke jaringan local lab TKJ
|  | 192.168.11.19 | 192.168.11.0 | 255.255.255.224 | 192.168.11.1 | 192.168.11.31 | PC 18 Client TKJ | Gedung A - LAB TKJ | Network ke jaringan local lab TKJ
|  | 192.168.11.20 | 192.168.11.0 | 255.255.255.224 | 192.168.11.1 | 192.168.11.31 | PC 19 Client TKJ | Gedung A - LAB TKJ | Network ke jaringan local lab TKJ
|  | 192.168.11.21 | 192.168.11.0 | 255.255.255.224 | 192.168.11.1 | 192.168.11.31 | PC 20 Client TKJ | Gedung A - LAB TKJ | Network ke jaringan local lab TKJ
|  | 192.168.13.2 | 192.168.13.0 | 255.255.255.0 | 192.168.13.1 | 192.168.13.255 | Access Point - Ether 1 | Gedung B - Outdoor | Media transmisi jaringan via wireless ke client
Rencana Pengalamatan IP Untuk Perangkat Jaringan
|  | Device | Gedung/ruang | IP Address | Network | Netmask
|  | Router - Ether 1 | Gedung A - NOC | 192.168.204.15 | 192.168.204.0 | 255.255.255.192
|  | Router - Ether 2 | Gedung A - NOC | 172.16.20.1 | 172.16.20.0 | 255.255.255.248
|  | Router - Ether 3 | Gedung A - NOC | 192.168.1.1 | 192.168.1.0 | 255.255.255.252
|  | Router - Vlan 10 | Gedung A - NOC | 192.168.12.1 | 192.168.12.0 | 255.255.255.224
|  | Router - Vlan 20 | Gedung A - NOC | 192.168.11.1 | 192.168.11.0 | 255.255.255.224
|  | Router - Vlan 30 | Gedung A - NOC | 192.168.13.1 | 192.168.13.0 | 255.255.255.0
|  | Router - Ether 4 | Gedung A - NOC | 192.168.10.1 | 192.168.10.0 | 255.255.255.224
|  | Switch 1 - Ether 1 | Gedung A - NOC | 192.168.1.2 | 192.168.1.0 | 255.255.255.252
|  | Access Point - Ether 1 | Gedung B - Outdoor | 192.168.13.2 | 192.168.13.0 | 255.255.255.0
| Asesor, | [5 empty] | Asesi,
| ..................................... | [5 empty] | Mochamad Rizky Afriansyah

## K.3 Pengembangan Jaringan
NAMA ASESI |  | : Mochamad Rizky Afriansyah
KELAS |  | : XII TKJ 1
TANGGAL ASESI |  | :
NAMA ASESOR |  | :
UP GRADE PERANGKAT JARINGAN
Catatan : Upgrade perangkat hanya pada perangkat yang dapat diupgrade, yg tidak bisa tidak perlu diupgrade
| No | nama perangkat
|  | Perangkat lama | Spesifikasi/fitur | Perangkat Baru | Spesifikasi/fitur
| 1 | CISCO Meraki MX64W Router/Security Appliance with 802.11ac | Weight : 1.4 kg Dimensions : 239mm x 132mm x 25mm Mounting Desktop or Wall mount Power Load (idle/max) 6W / 13W Operating Temperature 32°F to 104°F (0°C to 40°C) Humidity 5% to 95% Interface : Dedicated: 1 x GbE RJ45 1 x USB (cellular failover) Dual-purpose: 1 x GbE RJ45 Fixed: 4 x GbE RJ45 Output Power : 30W | CISCO Meraki MX68 Router Security Appliance | Stateful Mount Firewall: 450 Mbps Advance Security: 300 Mbps VPN: 200 Mbps Weight 1.12 kg Network Connection WAN ports: 2x 1GE RJ45 ¦ LAN ports: 8x 1GE RJ45; 2x 1GE PoE+ RJ45 Dimensions 27 x 148 x 284 mm
| 2 | ICA UPS 1022B | Daya Keluar : 2000VA/1000W Berat Produk : 28.8 Kg (without internal battery) Garansi 12 Bulan dari Distributor Resmi di Indonesia 6 Bulan Baterai Dimensi Produk : 402 x 260 x 285 mm (D x W x H) | ICA UPS 2022B | Daya Keluar 4000VA/2000W Form Factor Tower Baterai In: 4 x 12 V, 14 Ah EXT Battery : 4 x 12 V, Max 40 Ah Voltase Masuk Voltage : 220 ± 5% V Frequency:50 Hz Efficiency: >80 % Berat Produk 25.4 Kg (Without internal battery) Back-Up Time Full Load 10 minute Dimensi Produk 402 x 260 x 285 mm (D x W x H )
3
4
5
6
7
8
9
10
11
12
13
Asesor, |  |  |  |  | Asesi,
..................................... |  |  |  |  | Mochamad Rizky Afriansyah